COLLEGE OF ENGINEERING & TECHNOLOGY

(A Constituent & Autonomous College of Biju Patnaik University of Technology, Odisha)

Techno Campus, P.O.-MahalaxmiVihar

BHUBANESWAR-751029 ODISHA, INDIA

Tender Notice No.  855  /CET					Dated: 07/03/2018

### Corrigendum on Tender Notice no. 665/CET dated 17.2.2018

The detailed revised technical specifications, revised Technical Bid (Annexure-I) and Price bid (Annexure-II) are notified in our college website www.cet.edu.in. The last date of submission of this tender is hereby extended till 14.03.2018. All other terms and conditions are same in the original tender.

Sd/-

Principal

The detailed revised technical specifications, revised Technical Bid (Annexure-I) and Price bid (Annexure-II) are enclosed herewith. The display screen/TV is replaced with panel and accordingly this may be read in the tender paper.

### Revised Technical Specifications:

The list of CCTV Cameras with recorders and pannel with their technical specifications are as follows:

| Sl. No. | Name of the items with technical specifications | Qty Required (approx.) |
| --- | --- | --- |
| 1 | Image Sensor1/2.8" 2.4Megapixel HQIS Pro Minimum Illumination0.05Lux@F1.2(AGC ON), 0Lux IR on White Balance Auto, Lens 2.7~12mm motorized Lens Video Streaming25/30@1080P, 25/30/50/60fps@720P Video Output1-channel BNC HDCVI high definition video output, IRIR Range of 60 Mtr. | 18nos Bullet Camera with Bracket |
| 2 | 32 Channels HD DVR with HDMI port, Ethernet port, USB port with remote login facility, 2nos of HDD connectivity Facility inside the DVR | 01no |
| 3 | 32’’ panel with HDMI connectivity with 3 years warranty & wall mount (1800) rotation Bracket. | 01no |
| 4 | Copper wire, Copper BNC pin, Power Supply Unit (with One standby unit), One no of HDMI 3mtr Cable. (capping and casing) | Wiring & Installation as per actual with other required Accessories |

Annexure-I

(in the letter head of the bidder)

TECHNICAL BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail			:

Mobile no.		:

5.	Tender paper cost deposited		: Yes /No (tick one)

If yes, give details			:

6.	EMD deposited			: Yes/ No (tick one)

If yes, give details			:

7.	Registration of the firm		: (submit the documentary proof)

8.	Tax Clearance up to			 :

Name of the document(s) submitted	: (submit the documentary proof)

9.	TIN/PAN				:

10.	GST/GSTIN as applicable		: (submit the documentary proof)

10.	Manufacturer’s Authorisation		: (submit the documentary proof)

11.	Turnover for the last three year	:

(enclose the CA certified audited statements showing turn over for last three years)

12.	Clientele list (where CCTV  and recorder are supplied during last three years in any Govt / public sector organisations)

13.	Any other document etc. submitted	:

14.	Technical details for CCTV Cameras with recorders and panel

| Sl. No. | Name of the items with technical specifications | Qty Required (approx.) | Make & catalogue number | Detail technical specifications |
| --- | --- | --- | --- | --- |
| 1 | Image Sensor1/2.8" 2.4Megapixel HQIS Pro Minimum Illumination0.05Lux@F1.2(AGC ON), 0Lux IR on White Balance Auto, Lens 2.7~12mm motorized Lens Video Streaming25/30@1080P, 25/30/50/60fps@720P Video Output1-channel BNC HDCVI high definition video output, IRIR Range of 60 Mtr. | 18nos Bullet Camera with Bracket |  |  |
| 2 | 32 Channels HD DVR with HDMI port, Ethernet port, USB port with remote login facility, 2nos of HDD connectivity Facility inside the DVR | 01no |  |  |
| 3 | 32’’ panel with HDMI connectivity with 3 years warranty & wall mount (1800) rotation Bracket. | 01no |  |  |
| 4 | Copper wire, Copper BNC pin, Power Supply Unit (with One standby unit), One no of HDMI 3mtr Cable. (capping and casing) | Wiring & Installation as per actual with other required Accessories |  |  |

NB: Please submit the original printed catalogue for the items no.1,2 and 3 above.

Date;

Place:						Signature of the authorized person & seal

Anexure-II

(in the letter head of the bidder)

PRICE BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail	& Mobile no.	:

5.	Tax Clearance up to			 :

6.	TIN/PAN				:

7.	Rate of CCTV Cameras with recorders and pannel (in Indian rupees in English only). The cost should be inclusive of supply, installations and testing of these items.

IMP: 	(i) The CCTV Cameras with recorders and pannel must be of as per the specifications.

(ii) Price bid will not be considered for any particular item if make of it is not mentioned.

(iii) Quantity required are approximate which may change during finalization.

(iv) The bid will be considered on turnkey basis i.e. cost of all items, installations and testing together.

CCTV Cameras with recorders and pannel: (supply, installations and testing)

| Sl. No | Name of the items with technical specifications | Qty Reqd. approx | Make & catalogue number | Detail technical specifications | Rate per unit item in Rs. | GST @ Per unit item in Rs. | Total amount in Rs. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Image Sensor1/2.8" 2.4Megapixel HQIS Pro Minimum Illumination0.05Lux@F1.2(AGC ON), 0Lux IR on White Balance Auto, Lens 2.7~12mm motorized Lens Video Streaming25/30@1080P, 25/30/50/60fps@720P Video Output1-channel BNC HDCVI high definition video output, IRIR Range of 60 Mtr. | 18nos Bullet Camera with Bracket |  |  |  |  |  |
| 2 | 32 Channels HD DVR with HDMI port, Ethernet port, USB port with remote login facility, 2nos of HDD connectivity Facility inside the DVR | 01no |  |  |  |  |  |
| 3 | 32’’ panel with HDMI connectivity with 3 years warranty & wall mount (1800) rotation Bracket. | 01no |  |  |  |  |  |
| 4 | Copper wire, Copper BNC pin, Power Supply Unit (with One standby unit), One no of HDMI 3mtr Cable. (capping and casing) | Wiring & Installation as per actual with other required Accessories |  |  |  |  |  |
|  |  |  | Total Cost |  |

Date;

Place:						Signature of the authorized person & seal

# Text boxes

NAAC ‘A’