|  |
| --- |
| logo1COLLEGE OF ENGINEERING AND TECHNOLOGY(A Constituent College of Biju Patnaik University of Technology)TECHNO CAMPUS, GHATIKIA, PO: MAHALAXMIVIHAR, BHUBANESWAR-751 029 |

|  |
| --- |
| No. 417 & 418 / CET; Dated 25/01/2017 |

**TENDER CALL NOTICE**

Sealed tenders are invited form reputed original Equipment manufacturer/Authorized dealers/suppliers up to the date mentioned in the tenders for supply of equipments and Instruments through Speed post/Registered post/Courier service only for (a) different instruments and (b) LCR meter in different laboratories of department of Physics. The date of opening of the tender is mentioned in the tender document, which will be opened in the office chamber of the Principal, College of Engineering and Technology, Bhubaneswar in the presence of bidders and/or their representatives. The tender bid documents with details of terms and conditions are to be downloaded from the College Website: [**www.cet.edu.in**](http://www.cet.edu.in)**.**

The authority will not be responsible for any postal delay. No hand delivery will be accepted. The Bidders must submit the tenders by Speed post/Registered post/Courier service only to reach the undersigned on or before 25.02.2017 at 3:00 P.M.

The authority reserves the right to reject/cancel the tenders in whole or in part without assigning any reason thereof.

#### 

#### Sd/-

#### PRINCIPAL

No. 417 / CET; Dated 25/01/2017

**BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE**

**FOR SUPPLY OF**

**EQUIPMENTS AND INSTRUMENTS**

**FOR**

**DEPARTMENT OF PHYSICS**

****

**COLLEGE OF ENGINEERING AND TECHNOLOGY**

**(A Constituent College of Biju Patnaik University of Technology)**

**Techno Campus, PO : Mahalaxmivihar, Bhubaneswar –751029**

**DETAILED PARTICULARS AND INSTRUCTIONS ON TENDER**

**Purchase of equipments and instruments**

**for**

**Department of Physics**

**College of Engineering and Technology**

**Bhubaneswar – 751029, Odisha**

|  |  |  |
| --- | --- | --- |
| **1.** | **Tender Opening** | **25.02.2017 at 4 : 00 P.M.** |

#### Principal College of Engineering and Technology (CET) invites sealed tenders from reputed Original Equipment Manufacturers (OEM)/Authorised Dealers/Suppliers

#### for supply of *equipments and instruments* for the Department of Physics, College of Engineering and Technology (CET), Techno Campus, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha.

### Scheduled Tender Activity:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sl. No.** | **Activity** | | | **Date** | | |
| 1.  2. | Due date of Tender Last Date of Tender Document Submission | | | **25.01.2017**  **25.02.2017 at 3 : 00 P.M.** | | |
| 3. | Opening of Technical Bid | | | **25.02.2017 at 4 : 00 P.M.** | | |
| **Item** | | **EMD (in Rupees)** | **Cost of Tender Document (in Rupees)** | | **Period of complete Delivery, Installation and Commissioning** |
| Instruments and Equipments for Department of Physics | | **5000.00** | **Rs.500/** | | **6 weeks** |

**Financial bid & Technical bid must be enclosed separately.**

**The Tender documents can also be downloaded from our website www.**[**cet.edu.in**](http://www.cet.edu.in) **and the bidder has to submit a separate draft of Rs.500.00 along with submitted tender, otherwise the offer submitted by the bidders will be cancelled.**

### Eligibility of Bidders and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

1.The biddermust be a reputed **OEM** manufacturers and/or the Authorised Dealers/Suppliers of a reputed manufacturer. Manufacturers should provide all documents relating to their **Manufacturing Capabilities.**

2.If the bidder is an Authorised Dealer of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

3.The bidder must have both sales and service center with qualified Service Engineers. All after sales support should be provided directly by the manufacturer only.

4.The bidder must have the willingness for providing comprehensive maintenance support of the Equipment supplied by him.

5.The bidder must provide evidence of successful execution of supply orders with installation and successful after sales support in reputed organizations

6.The bidder must have cleared Sales Tax and Income Tax payment up-to- date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up-to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-date. and/or PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The bidders who are **the Original Equipment Manufacturers (OEM)/ Authorised Dealers/Suppliers** of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants.

The selection for procurement of equipments will be based on quality and performance along with cost. In this context decision of technical committee is final based on documentary evidence or actual physical verification.

The tenders will be opened on **25.02.2017 at 4:00P.M** in presence of the bidders or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular bidder under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenders would be rejected or contract cancelled and earnest money deposited will be forfeited.

The bidders should mention the location of its service center nearest to Bhubaneswar in their tender paper.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, delivery period and after-sale-service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased on illegible specifications and rates will be rejected.

Request from bidder in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Bidders shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a bidder find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the bidder to ask for time beyond the due date fixed for receipt of tenders.

The bidder must also specify minimum uptime and maximum time to repair/replace in the event of a failure and penalty there of.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the bidder agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, bidders and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the bidders either in writing or through personal contact as may be necessary.

The bidder will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the bidder is liable to be disqualified.

### 2.3 Procedure for Submission of Tenders:

a) The Bidders must submit their bids as required in two parts in separate sealed covers prominently super scribed as Part-I “**Technical Bid**” and Part-II “**Financial Bid**” and also indicating on each of the covers the “**Tender call Notice Number & Date**” and **due date and time of submission** as mentioned in Tender Cal Notice.

**Part-I (Technical Bid)**

Excepting the price schedule, all other documents as mentioned in para 2.1 i.e details of **technical specifications, leaflet, Copy of Firm Registration Certificate from the competent authorities, Sale Tax clearance, Income Tax Clearance, PAN Card copy, list of clients, authorization certificate from Manufacturer in case of Dealer**, **etc**. along with **tender document duly signed** by the authorized person in each page shall be covered in Part-I (Technical Bid).

**Part-II (Financial Bid)**

All indications of price shall be given in Part-II (Financial Bid)

#### b) Both sealed covers Part-I “ Technical Bid” and Part-II “Financial Bid” should be placed in a third cover along with requisite EMD & cost of Tender documents (separately in the form of DD drawn in favour of Principal, College of Engineering & Technology, Bhubaneswar at any Nationalized Bank payable at Bhubaneswar), others requisite supporting documents etc. and sealed. The sealed cover containing tender documents as per procedure indicated above should be submitted by speed post / Registered Post / Courier to the office of the Principal, addressing to the Principal, College of Engineering & Technology, Techno-campus, PO : Mahalaxmivihar, Bhubaneswar-751029, Odisha within the due date and time as stipulated in Tender. No hand delivery is accepted. The sealed envelope must show the name of the bidder and his address and should be super scribed as “*Tender for supply of Equipments for* Department of physics*”* on the top of the envelope.

**c)** All the documents submitted must be in the papers showing signature of the tenderer and printed office name of the bidder on official seal.

**d)** All the documents must be submitted in a **sequential manner** with **separator/flags** to help in quick scanning of the topics. Wherever possible, data in tabular form should be given

### 3. Requirements by Bidder before Supply:

### Rating Plate, Name Plate and Labels:

Each of the equipment is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

### Packaging:

All the equipment are to be suitably protected, covered in water–proof packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

All materials/equipment shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to provided by the bidder

The bidder shall provide all test and measuring equipment/tools required for inspection/testing.

The cost of all such tests shall be borne by the Bidder

CET reserves the right to reject any equipment if it does not comply with the specifications during site testing, installation and commissioning stage.

Inspection & testing would be conducted, jointly, at various stages as applicable during unpacking, installation and commissioning of respective equipment/ components at the manufacturing site.

### Environmental Condition:

All the equipment supplied shall be rugged and should operate without any deviation in quality, or degradation of equipment performance. All the specification/parameters shall be guaranteed over the following environmental conditions:

\* Storage Temperature 0 to 70 degree Celsius

\* Operating Temperature 0 to 50 degree Celsius

\* Humidity 95% RH (non-condensing)

All the equipment are intended to operate under 220 V, 50 Hz power supply.

### Requirements by Tenderer after Supply:

### Supply:

The material would be delivered by the supplier at Department of Physics, College of Engineering & Technology, Techno Campus, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The equipment should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the equipment, shall be supplied by the bidder at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 6 (Six) weeks of placing of the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

CET reserves the right to procure the materials from alternative sources at the risk and cost of the successful bidder giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification shall be rejected.

The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

Imported consignment, if any, should be destined to “**The Head Of the Derpartment Physics, College of Engineering & Technology, Techno Campus, PO : Mahalaxmivihar, Bhubaneswar–751029, Odisha. India**” through nearest custom clearing Airport (Bhubaneswar Airport).

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The equipment shall be delivered and installed at site at the cost of the bidder

All taxes, levies, surcharges including the customs clearance and handling freight and insurance should be paid and handled by the bidder

### Installation and Commissioning:

Installation and Commissioning shall include the following:

1. Installation and Testing of the Equipment, Machineries etc. supplied by the bidder It will be the responsibility of the bidder to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to purchaser.
2. The bidder is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.
3. Installation must complete within 15 days after delivery on site.
4. The bidders should provide all necessary raw materials for running of the machine during commissioning.

### Documentation:

Detailed **technical manuals, handbooks, drawings, warranty card and factory quality assurance checklist, test results** and any other certifications mentioned in the technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and system safety procedures.

For Experimental setups details of **theory, procedure and methods of taking measurements** **etc.** should be provided in the form of hand books for each experiment in duplicate.

The receipts for taxes paid, if any, for the supplied materials should also be submitted

### Trial Operation and Performance Guarantee Test:

After successful completion of installation and commissioning of the equipment, a 7-day continuous trial operation putting those on optimum use shall be conducted by the bidder at site, during which the performance of the equipment shall be demonstrated for trouble-free continuous operation, meeting the specified standards and proper training shall be imparted to two persons of the purchaser.

During trial operation, bidder shall do all necessary adjustments required to ensure the performance as per the acceptable level.

In case, guaranteed performance is not established, the bidder shall be given opportunity to rectify/replace the equipment/components, and restart the 7 days continuous trial operation, at the risk and cost of the bidder

### On-Site Warranty:

a) The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied devices/equipment and components shall be covered under **two-years or more** comprehensive on-site warranty from the date of issue of successful completion of Performance Guarantee Report.

b) During the period of warranty, it shall be the responsibility of the bidder to provide all essential spares and consumables, which may be required for maintenance and trouble-free operation of the devices / components at the bidder’s cost

c) Software, if any, has to be tested with at least one-year warranty for trouble free operation.

### Comprehensive Maintenance Contract:

The bidder shall be under the obligation of entering into a Comprehensive Maintenance Contract (CMC) with CET for a minimum period of two years, renewable if felt necessary, on mutually acceptable rates, terms and conditions. CMC shall start after the completion of Warranty.

The scope of CMC shall cover maintenance and supply/replacement of materials and components, for smooth and reliable operation of the systems without trouble.

Accordingly, the bidder has to offer rates for the CMC structure per equipment along with the price for the Systems and other associated Equipment supplied.

### After Sales Service:

During the warranty period and subsequently, after signing of Agreement for CMC the bidder shall attend to the problems reported by the users of CET on a priority basis.

For any problem reported, the bidder shall attend and rectify the problem within 3 (three) days or provide a stand by system of the similar configuration.

The report on any problem will be informed through phone or fax number of which shall be given by the bidder

The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the bidder

On failure to comply with those instructions, the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

### EMD

The bidder has to submit a Demand Draft/Banker’s Cheque/Pay Order for equipments as mentioned below in favour of **Principal, College of Engineering and Technology** payable at Bhubaneswar in any Nationalized Bank towards EMD. W**ithout EMD, the tender will be summarily rejected**.

1. **EMD : Rs.5000.00**

**ii) Cost of Tender Paper : Rs.500.00**

**iii) Period of complete Delivery, Installation and Commissioning : 6 weeks**

There will be no interest paid to the bidder towards EMD money.

In no case the EMD money in cash or any other forms will be accepted at the time of opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful bidders will be refunded as soon as possible after the tenders are finalized.

### 5.2 Performance Security Deposit

In case of successful Bidder **EMD** will be kept as **Performance Security Deposit** and will be **refunded after expiry of stipulated warranty periods from the completion date of installation and commissioning on satisfactory performance of the equipment.**

### 5.3 Prices:

Price quoted should be **FOR College of Engineering and Technology, Bhubaneswar, Department of Physics only. Tax components as applicable should be mentioned clearly in the financial bid.**

Price should be quoted for unit item; however, the actual requirements may be much more. (A bidder may propose to give discounts if any for purchase of more than one unit of a particular item.)

Purchase order will be placed as a single lot for each type of item or for all the items together, as the case may be.

In case of items of import, the bidder should take full responsibility for customs clearance, handling, tax payment, etc. and specify the charge for the same in the price bid.

* 1. **Sales Tax Concession:**

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

* 1. **Discount:**

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of equipment/instruments.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

* 1. **Payments:**

a) In case of imported items, payment will be made by opening LC in the name of the manufacturer subject to the condition that a Bank Guaranty for an equal amount will be submitted by the bidder to CET for the period of completion of installation and commissioning. Custom duty will be paid extra as per actual.

b) In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful installation and commissioning of the equipment subject to submission of satisfactory performance report by the Head of the Department.

* 1. **Penalty:**

If the delivery, installation and commissioning is not carried out in time as specified in other part of the tender document, the bidder /manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned machine/equipment.

* 1. **Rate Contract with DGS&D or any other Government Organisation:**

In case the bidder has entered into a Rate Contract with DGS & D or any other Government Organisation such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

### Instruction to the Bidder

### Technical Offer and Price Bids should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either ***“Technical Offer” or “Price Offer”***.

Both these covers should be placed in a third cover super scribed as **“Tender for equipments and instruments for Department of Physics ”.**

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology.

Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible.

Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and number for each offer.

Include the printed catalogue and price list if any for each of the equipment quoted.

Specify the list of Accessories required along with each of the equipment.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the equipment as “**Free Accessories”**; these should be fully compatible with the quoted models.

* 1. **Solving Disputes:**

CET, the bidder and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

***The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order***.

***Sign on each page of this tender document and Return it along with the offer enclosing this part together with the Technical Offer.***

***\*\*\* The CET authority has all rights to accept/reject any tender without assigning any reasons there of.***

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

1. **Technical Specifications :**

Following are the minimum specifications of the equipment.

The minimum specifications are indicative and not exhaustive.

The models with higher specifications may be quoted.

The quoted materials should be of latest trend and technology.

Each equipment should be complete in itself without needing any extra requirements except the requirement of general test and measuring instruments.

All bidders qualifying in technical evaluation may arrange for a **demonstration of equipments.**

The demonstration will be held at **Department of *Physics, College of Engineering & Technology, Techno campus, Bhubaneswar – 751029*.**

**Financial Bid will be opened only if Tenders must qualify in Technical evaluation.**

**List of *equipments and instruments with technical specification.***

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Name of Equipments** | **Specifications** | **Quantity** |
| 1 | Search coil apparatus (to investigate magnetic field): | Search coil, lateral and axial, CRO  Signal Generator  Ammeter  Low voltage power supply  PVC-covered copper wire  Rheostat  Slotted base  Perspex strip  Crocodile clips  Connecting leads | 01 set |
| 2 | Logic Gate Kit | Logic Gate Kit Apparatus | 01 set |
| 3 | Hall Effect Apparatus | **Electromagnet : 01 No.**  Pole pieces : 50mm diameter  Field Intensity : 10KG. +/- 5% in Air gap of 10mm upto 100mm with two way  Energising Coils : Two  Resistance : 10 Ohms. approx.  **Power Supply** **for Electromagnets** : 01 No  220V 50 Hz with output is 90Volts 6 Amp (approx.)  **Constant Current power supply** : 01 No.  0-20 milliamp, 0-200mV  Digital Gauss meter : 01 No.  Hall probe(P-type and N-type) : Ge. Crysatl  Hall Voltage : 0.1 -1Volt/100mA/KG  Thickness of Ge. Crystal : 0.4-0.5mm  Resistivity : 10 Ohm cm | 01 set |
| 4 | e/m by Braun tube apparatus | Fine beam tube and stand  Power supply, 0-250 V (High Tension, HT), with special shrouded connecting leads  6.3 V supply for the heater filament (this is often included on the EHT supply)  Demonstration meters, 2  DC dial: 5 amp  DC dial: 300 volts  Hall probe  Helmholtz coils  Power supply, low voltage, variable, 0 - 12 V  OR Battery pack 6V, 2,  Rheostat | 01 set |
| 5 | e/m by Magnetron method apparatus | e/m Magnetron Method experimental kit  Magnetron - 01  Solenoid - 01  Meter Scale  Connecting cables  Power Supply | 01 set |
| 6 | Cornu’s interference apparatus (Determination of Young’s modulus and Poisson’s ratio using Cornu’s method) | Sodium vapor lamp,  transparent beam,  convex lens,  travelling microscope,  two knife edges  A set of weights, weight holders and a mirror | 01 set |
| 7 | Four probe aparatus(Four probe method for determination of band gap of semiconductor) | (i) Probe arrangement: It has four individually loaded probes, coated with Zn at the tips. The probes are collinear and equally spaced. The Zn coated and individual spring ensures good electrical contacts with the sample. The probes are mounted in a Teflon bush, which ensure a good electrical insulation between the probes, a Teflon spacer near the tips is also provided to keep the probes at equal distance. The whole arrangement is mounted on a suitable stand and leads are provided for current and voltage measurements.  (ii) Sample: Ge (Germanium) crystal in the form of a chip slice.  (iii) Oven: It is a small oven for the variation of temperature of the crystal from room temperature to about 200°C.  (iv) Four probe set up (Measuring Unit): It has three subunits all enclosed in one cabinet (a) Multi-range Digital Voltmeter (b) Constant  Current Power supply (c) Oven Power Supply | 01 set |
| 8 | Planck’s constant measurement apparatus by using LED | |  | | --- | | Specially designed variable dc power supply (0 – 5 V) whose output can be varied in steps of 1 mV. | | Digital dc Micro ammeter (0-999 µA dc), | | Digital Voltmeter (0 – 9.99V dc), | | Calibrated LEDs: 4 nos. | | 01 set |
| 9 | Brewster angle measurement apparatus | Laser Diode  Polarizer Assembly (1 lens holder and 2 polarizers).  Collimating slits`  D lens.  Square analyzing polarizer  Light Sensor | 01 set |

### DEPARTMENT OF PHYSICS

### COLLEGE OF ENGINEERING AND TECHNOLOGY, BHUBANESWAR

### (A Constituent College of BPUT, Odisha)

### Techno Campus, PO: Mahalaxmivihar

### Bhuabaneswar, Pin-751029

### www.cet.edu.in

### Email:principalcet@cet.edu.in

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**TECHNICAL BID**

(To be enclosed in separate sealed cover)

Name and address of the bidder:

Note: A DD for EMD and Tender document fee should be enclosed with this bid separately as mentioned in para 5.1 of tender paper

1. Name of the bidder
   1. Full postal address
   2. Full address of the premises
   3. Telegraphic address
   4. Telex number
   5. Telephone number
   6. Fax number
2. Monthly supply capacity of goods quoted for
   1. Normal
   2. Maximum
3. Total annual turn-over(value in Rupees)(Previous year)

(Copy of Balance Sheet / Audit Statement / IT returns, etc. to be attached as proof)

1. Past supply details for 3 years (Attach proof)
2. Whether similar job work undertaken in the past, if so details.

(Demo of the Lab Equipments to be arranged if required)

**Customer** **Quantity supplied** **Year**

6. Sale Tax No. / TIN No.

**Signature and seal of the bidder**

**DEPARTMENT OF PHYSICS**

**COLLEGE OF ENGINEERING AND TECHNOLOGY, BHUBANESWAR**

**(A Constituent College of BPUT, Odisha.)**

**Techno Campus, PO : Mahalaxmivihar, Bhuabaneswar, Pin-751029** [**www.cet.edu.in**](http://www.cet.edu.in)

**Email:principalcet@cet.edu.in**

\*\*\*\*\*\*\*\*\*\*\*\*\***\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**FINANCIAL BID**

(To be enclosed in separate sealed cover)

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No | Item Description | Make / Model | Quantity  Required. | Unit Cost | Total | Taxes Applicable | Any Other | Total |
| 1 | Search coil to investigate magnetic field |  | 01 set |  |  |  |  |  |
| 2 | Logic gate kit |  | 01 set |  |  |  |  |  |
| 3 | Hall effect |  | 01 set |  |  |  |  |  |
| 4 | e/m by braun tube |  | 01 set |  |  |  |  |  |
| 5 | e/m by magnetron valve method |  | 01set |  |  |  |  |  |
| 6 | Coronus interference method for determination of young’s modulus |  | 01set |  |  |  |  |  |
| 7 | Four probe method for determination of band gap of semiconductor |  | 01 set |  |  |  |  |  |
| 8 | Planck’s constant kit: |  | 01 set |  |  |  |  |  |
| 9 | Brewster angle experiment |  | 01 set |  |  |  |  |  |

Signature and seal of the Bidder

# PROFORMA FOR SUBMITTING ELIGIBILITY REQUIREMENT AND UNDERTAKING

To

The Principal,

CET, Bhubaneswar

**Sub: Submission of Tender for “Supply, Installation & Commissioning in different laboratories of department of Physics.**

Sir / Madam,

Having examined the conditions of contract and specifications including agenda, I/we, the undersigned, offer to undertake Supply, Installation, Testing & Commissioning of above mentioned items at Department of Physics, CET, Bhubaneswar, in conformity with the specifications, terms & conditions of Tender.

1. I/We agree to abide by the terms and provisions of the said conditions of the contract and provisions contained in the notice inviting tender. I/We hereby unconditionally accept(s) the tender conditions.

It is certified that I/we have not stipulated any condition(s) in our tender offer. In case any condition(s) are found in our tender offer violated after opening tender, I/We agree that the tender shall be rejected without prejudice to any other right or remedy be at liberty to forfeit the EMD absolutely.

1. I/We hereby submit the earnest money of [INR…………..……….……] for the Tender for the above mentioned work in the form of demand draft.
2. That, I/We declare that I/We have not paid and shall not pay any bribe to any officer of CET for awarding this contract at any stage during its execution or at the time of payment of bills, and further if any officer of CET asks for bribe/gratification, I/We shall immediately report it to the CET authorities.
3. That, I/We undertake that CET’s tender document shall form part of contract agreement.

I/We understand that you are not bound to accept the lowest or any bid, you shall receive.

Thanking you

Yours faithfully

Dated:

Signature of Bidder

Name: ……………………

Telephone:……………….

Witness…...................

Signature....................

Address......................

Enclosures :