COLLEGE OF ENGINEERING AND TECHNOLOGY

(A constituent college of Biju Patnaik University of Technology, Odisha)

Techno campus, Mahalaxmi Vihar, BHUBANESWAR – 751029

No. 2540      /CET		                                            	Date- 01.08.2017

Tender Call Notice

Sealed Tenders are invited from reputed Original Manufacturers / Authorized Dealers/ Suppliers, for supply glasswares to Department of Chemistry of the college, details of which are available in the tender papers. The tenderers must possess valid up-to-date VAT /income tax clearance etc. The last date of submission of tender is 01.09.2017 (up to 1PM) and will be opened on the same date at 3.00PM. The sealed tender will be received by Speed Post/Registered Post only. No hand delivery is acceptable. Tender received after the scheduled date and time will not be considered. The authority is not responsible for any postal/courier delay. More details are available at our college website www.cet.edu.in.

Sd/-    									                                                                                          PRINCIPAL

BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE

FOR SUPPLY OF GLASSWARES

FOR

DEPARTMENT OF CHEMISTRY

COLLEGE OF ENGINEERING AND TECHNOLOGY

(A Constituent College of Biju Patnaik University of Technology)

Techno Campus, Mahalaxmi Vihar, Bhubaneswar –29

DETAILED PARTICULARS AND INSTRUCTIONS ON TENDER

FOR

| 1. | Tender Opening | 01.09.2017 at 3.00 PM |
| --- | --- | --- |

#### Purchase of Glasswares

FOR

Department of Chemistry

College of Engineering and Technology

Bhubaneswar – 751029, Orissa

#### Sealed Tenders are invited from reputed Original Manufacturers /Authorised Dealers/Suppliers, for supply of glasswares for the Department of Chemistry, College of Engineering and Technology (CET), Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Orissa.

### Scheduled Tender Activity:

| Sl. No. | Activity | Date |
| --- | --- | --- |
| 1 2 | Due date for tender Last Date of Tender Document Submission | 27.07.2017 01.09.2017 up to 1.00PM |
| 3. | Tender Opening | 01.09.2017 at 3.00 PM |
| Items | EMD (in Rupees) | Cost of Tender Document (in Rupees) | Period of complete Delivery, Installation and Commissioning |
| Glasswares for Department Chemistry | See under clause no. 5.1 of this tender | Rs.1000/ VAT@14.5% | 6 weeks/120 days |

Commercial bid & Technical bid must be enclosed separately.

The Tender documents can also be downloaded from our website cet.edu.in and the tenderer has to submit a separate draft of Rs.1000.00 + GST as applicable (in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised Bank towards tender paper cost )along with submitted tender, otherwise the offer submitted by the tenderer will be cancelled.

### Eligibility of Tenderer and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

- The tenderer must be a reputed original manufacturer and/or the Authorised Dealer/ Authorised Supplier of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the tenderer is an Authorised Dealer/ Authorised Suppliers of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

- The tenderer must provide evidence of successful supply orders of glasswares and successful after sales support in reputed organizations.

- The tenderer must have cleared Sales Tax and Income Tax payment up- to- date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up- to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-date. and/or PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The tenderers who are the Original Manufacturers / Authorised Dealers/ Authorised Suppliers of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants.

The tenders will be opened on 01.09.2017 at 3.00 PM in presence of the tenderers or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular tenderer under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenderer/s would be rejected or contract cancelled and earnest money deposited will be forfeited.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, Delivery period and After-Sale-Service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased or illegible specifications and rates will be rejected.

Request from tenderer in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Tenderers shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a tenderer find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the tenderer to ask for time beyond the due date fixed for receipt of tenders.

The tenderer must also specify minimum time and maximum time to repair/replace in the event of a failure and penalty thereof.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the tenderer agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, tenderers and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the tenderers either in writing or through personal contact as may be necessary.

The eligible tenderer will be informed to submit samples of each glassware items (for which the price bid is submitted) within a period of maximum seven days from the date of opening of tender i.e. 28.8.2017 for technical evaluation. The bids will not be considered during technical evaluation if the bidder is unable to supply the desired samples as per scheduled time.

The quantity mentioned against each item is approximate but it may change during finalization.

The tenderer will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the tenderer is liable to be disqualified.

### Submission of Tenders:

#### The sealed envelope must show the name of the tenderer and his address and should be superscribed as “Tender for Glasswares for Department of Chemistry” on the top of the envelope.

All the documents submitted must be in the papers showing signature of the tenderer and printed office name of the tenderer on official seal.

All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics.

The tenders should be submitted at the office of the Principal, College of Engineering & Technology, Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Odisha.

Outstation offices may send the tender forms by Registered Post/Speed Post/Courier and addressed to the Principal, College of Engineering & Technology superscribed as “Tender for Glasswares for Department of Chemistry”.

### Requirements by Tenderer before Supply:

### Rating Plate, Name Plate and Labels:

Each of the glasswares is to have permanently dispalyed to it, a name of the manufacturer etc.

### Packaging:

All the glasswares are to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of supply/installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

All glasswares shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to provided by the tenderer.

The tenderer shall provide all test and measuring glasswares required for inspection/testing.

The cost of all such tests shall be borne by the Tenderer.

CET reserves the right to reject any glasswares if these do not comply with the specifications during site testing, installation and commissioning stage.

### Environmental Condition:

All the glasswares supplied shall be rugged and should operate without any deviation in quality, or degradation of glasswares performance. All the specification/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	As per standard temp. in chemistry lab.

*	Humidity			95% RH (non-condensing)

All the glasswares are intended to be used in the chemistry laboratories.

### Requirements by Tenderer after Supply:

### Supply:

The glasswares would be delivered by the supplier at College of Engineering & Technology, Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Odisha.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The glasswares should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the glasswares shall be supplied by the tenderer at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 6 (SIX) weeks (for Indian glasswares or 120 days for foreign manufacturers) of placing of the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

CET reserves the right to procure the materials from alternative sources at the risk and cost of the successful tenderer giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification shall be rejected. The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The glasswares shall be delivered at site at the cost of the tenderer.

All taxes, levies, surcharges, handling freight and insurance, if any, should be paid and handled by the tenderer.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- It will be the responsibility of the tenderer to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to CET.

- The tenderer is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation, if any, must complete within a week after delivery on site.

### Documentation:

If necessary, detailed technical manuals, handbooks, drawings, Warranty card and Factory Quality Assurance checklist, test results and any other certifications mentioned in the Technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and System Safety procedures.

### Financial Terms:

  - EMD

The tenderer has to submit a Demand Draft/Banker’s Cheque/Pay Order/Bank Quarantee towards EMD amounting to Rs.12,000/- (rupees tweleve thousand only) in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised Bank towards EMD. Without EMD for an item, the tender will not be considered.

There will be no interest paid to the tenderer towards EMD money opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful tenderers will be refunded as soon as possible after the tenders are finalized.

No one should submit a tender who is unable to furnish the EMD as indicated above and supply the glasswares within the specified period as indicated in the indent/order issued for the quantities decided in his favour.

  - PRICES:

Price quoted should be FOR Bhubaneswar only.

Price should be quoted for unit item; however, the actual requirements may be much more. The tentative number of items required are given which may vary (increase/decrease) afterwords as per requirement. (A tenderer may propose to give discounts if any for purchase of more than one unit of a particular item.)

Purchase order will be placed as a single lot for each type of item or for all the items together, as the case may be.

  - Sales Tax Concession:

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of glasswares.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

  - Payments:

- In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful supply of the glasswares subject to submission of satisfactory performance report by our Professor-in-Charge.

  - Penalty:

If the delivery is not carried out in time as specified in other part of the tender document, the tenderer/manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned system/ glasswares.

  - Rate Contract with DGS&D or any other Government Organisation:

In case the tenderer has entered into a Rate Contract with DGS & D or any other Government Organisation such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

### Technical Specifications:

The list of glasswares with their technical specifications are enclosed in Annexure-I.

### Instruction to the Tenderer:

  - Instructions to Offer Technical and Price Bids Separately:

Technical Offer (Annexure-II) and Price Bid (Annexure-III) should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover super scribed as “Tender for Glasswares for Department of Chemistry”.

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology. Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible. Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and catalogue number for each offer. Include the printed catalogue and price list if any for each of the glasswares quoted.

Specify the list of Accessories required along with each of the glasswares.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the glasswares as “Free Accessories”; these should be fully compatible with the quoted models.

  - Solving Disputes:

CET, the tenderer and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

The CET authority has all rights to accept/reject any tender without assigning any reasons there of.

NB: (i)The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order.

(ii) Sign on each page of this tender document and return it along with the offer enclosing this part together with the technical offer.

Following are the minimum specifications of the glasswares. The minimum specifications are indicative and not exhaustive.

Annexure-I

Technical Specifications

A. Glasswares: (The glasswares must be of Borosil or equivalent make except the test tubes)

| Sl. No. | Name of the items | Qty Required (approx.) | Rate per unit item in Rs. |
| --- | --- | --- | --- |
| 1 | Beaker with spout – 1 lt | 20 nos. |  |
| 2 | Beaker with spout - 500 ml | 100 nos. |  |
| 3 | Beaker with spout – 250 ml | 100 nos. |  |
| 4 | Beaker with spout – 100 ml | 100 nos. |  |
| 5 | Beaker with spout – 50 ml | 100 nos. |  |
| 6 | Bottles – 250 ml with interchangeable stopper 24/29 | 50 nos. |  |
| 7 | Bottles – 500 ml with interchangeable stopper 24/29 | 50 nos. |  |
| 8 | Bottles – 1000 ml with interchangeable stopper 24/29 | 50 nos. |  |
| 9 | Burette, screw thread, stop cock with PTFE keys - 50 ml, graduation interval 0.1 ml, tolerance +0.1 ml | 100 nos. |  |
| 10 | Burette -10 ml, straight bore, stop cock with PTFE keys , graduation interval 0.05 ml, tolerance +0.03 ml | 50 nos. |  |
| 11 | Burette - 5 ml, straight bore, stop cock with PTFE keys , graduation interval 0.02 ml, tolerance +0.01 ml | 50 nos. |  |
| 12 | Condenser, coiled distillate type, overall height 450 mm, interchangeable joint 24/29 | 50 nos. |  |
| 13 | Condenser, coiled distillate type, overall height 550 mm, interchangeable joint 24/29 | 50 nos. |  |
| 14 | Conical flask, narrow mouth - 500 ml | 100 nos. |  |
| 15 | Conical flask ,narrow mouth - 250 ml | 100 nos. |  |
| 16 | Conical flask - 100 ml | 100 nos. |  |
| 17 | Cylinder graduated with pour out with hexagonal base – capacity 50 ml, graduation interval 1.0 and tolerance 0.1 ml | 40 nos. |  |
| 18 | Cylinder graduated with pour out with hexagonal base, graduation interval 1.0 and tolerance 0.5 ml – capacity 100 ml | 40 nos. |  |
| 19 | Cylinder graduated with pour out with hexagonal base, graduation interval 0.2 and tolerance 0.1 ml – 10 ml capacity | 20 nos. |  |
| 20 | Cylinder graduated with pour out with hexagonal base – 1ltr | 10 nos. |  |
| 21 | Desiccators (glass), porcelain plate, plastic knob- ID ground flange- 150 ml | 2 nos. |  |
| 22 | Desiccators (glass)- ID ground flange- 200 ml, porcelain plate, plastic knob | 2 nos. |  |
| 23 | Desiccators (glass), vacuum, stop cock with PTFE spindle, porcelain plate, - ID ground flange- 200 ml | 2 nos. |  |
| 24 | Flask boiling, flat bottom with interchangeable joint 24/29- 250 ml | 50 nos. |  |
| 25 | Flask boiling, flat bottom with interchangeable joint 24/29- 500 ml | 50 nos. |  |
| 26 | Flask boiling, flat bottom with interchangeable joint 34/35- 1000 ml | 50 nos. |  |
| 27 | Flask Round Bottom, with interchangeable joint 24/29 – 250 ml | 100 nos |  |
| 28 | Flask Round Bottom, with interchangeable joint 24/29 – 500 ml | 50 nos |  |
| 29 | Flask Round Bottom, with interchangeable joint 24/29 – 1000 ml | 50 nos |  |
| 30 | Flask, Volumetric with interchangeable solid glass stopper 10/15 – 10 ml, class A | 40 nos. |  |
| 31 | Flask, Volumetric with interchangeable solid glass stopper 10/15 , class A – 25 ml | 40 nos. |  |
| 32 | Flask, Volumetric with interchangeable solid glass stopper 10/15 , class A – 50 ml | 50 nos. |  |
| 33 | Flask, Volumetric with interchangeable solid glass stopper 10/15 – 100 ml, class B | 10 nos. |  |
| 34 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 250 ml | 20 nos. |  |
| 35 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 500 ml | 20 nos. |  |
| 36 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 1 ltr | 10 nos. |  |
| 37 | Funnels dia 50 mm | 50 nos. |  |
| 38 | Funnels dia 60 mm | 50 nos. |  |
| 39 | Funnels dia 100 mm | 50 nos. |  |
| 40 | Kipp’s Apparatus (glass) complete set) extractor length 500mm | 2 nos. |  |
| 41 | Kipp’s Apparatus (glass) complete set) extractor length – 1000mm | 2 nos. |  |
| 42 | Pipette – 25 ml, tolerance – 0.06 ml, class B | 120 nos. |  |
| 43 | Pipette – 10 ml, tolerance – 0.04 ml, class B | 60 nos. |  |
| 44 | Pipette – 10 ml, tolerance – 0.04 ml, class A | 60 nos. |  |
| 45 | Pipette – 5 ml, class A, tolerance – 0.05 ml | 120 nos. |  |
| 46 | Pipette – Graduated – 10 ml | 100 nos. |  |
| 47 | Reagent bottle (glass) ~ 250 ml | 500 nos. |  |
| 48 | Reagent bottle (glass) (coloured) ~ 250 ml | 40 nos. |  |
| 49 | Round Bottom Flask, with interchangeable joint 24/29 – 1 ltr | 50 nos |  |
| 50 | Round Bottom Flask, with interchangeable joint 24/29 – 500 ml | 50 nos |  |
| 51 | Test tube, packets of 100 each | 10 pkts |  |
| 52 | Funnels sintered disc Buchner type- capacity 200 ml, porosity 2 | 10 nos. |  |
| 53 | Funnels sintered disc Buchner type- capacity 80 ml, porosity 2 | 10 nos. |  |
| 54 | Funnels sintered disc Buchner type- capacity 80 ml, porosity 3 | 10 nos. |  |
| 55 | Funnels sintered disc Buchner type- capacity 35 ml, porosity 3 | 10 nos. |  |
| 56 | Funnels sintered disc Buchner type- capacity 35 ml, porosity 4 | 10 nos. |  |
| 57 | Watch glass – 80 mm | 100 nos |  |
| 58 | Watch glass – 120 mm | 100 nos. |  |

Annexure-II

(in the letter head of the bidder)

TECHNICAL BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail			:

Mobile no.		:

5.	Tender paper cost deposited		: Yes /No (tick one)

If yes, give details			:

6.	EMD deposited			: Yes/ No (tick one)

If yes, give details			:

7.	Registration of the firm		:

8.	Tax Clearance up to			 :

Name of the document(s) submitted	:

9.	TIN/PAN				:

10.	GST/GSTIN as applicable

10.	Manufacturer’s Authorisation		:

11.	Any other document etc. submitted	:

Date;

Place:						Signature of the authorized person & seal

Annexure-III

(in the letter head of the bidder)

PRICE BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail			:

Mobile no.		:

5.	Tax Clearance up to			 :

6.	TIN/PAN				:

7.	Rate of Glasswares (in Indian rupees in English only)

IMP: 	(i) The glasswares must be of Borosil or equivalent make except the glass test tubes)

(ii) Price bid will not be considered for any particular item if make of it is not mentioned.

(iii) Quantity required are approximate which may change during finalization.

A. Glasswares: (The glasswares must be of Borosil or equivalent make except the test tubes)

| Sl. No. | Name of the items | Qty Required (approx.) | make | Rate per unit item in Rs. |
| --- | --- | --- | --- | --- |
| 1 | Beaker with spout – 1 lt | 20 nos. |  |  |
| 2 | Beaker with spout - 500 ml | 100 nos. |  |  |
| 3 | Beaker with spout – 250 ml | 100 nos. |  |  |
| 4 | Beaker with spout – 100 ml | 100 nos. |  |  |
| 5 | Beaker with spout – 50 ml | 100 nos. |  |  |
| 6 | Bottles – 250 ml with interchangeable stopper 24/29 | 50 nos. |  |  |
| 7 | Bottles – 500 ml with interchangeable stopper 24/29 | 50 nos. |  |  |
| 8 | Bottles – 1000 ml with interchangeable stopper 24/29 | 50 nos. |  |  |
| 9 | Burette, screw thread, stop cock with PTFE keys - 50 ml, graduation interval 0.1 ml, tolerance +0.1 ml | 100 nos. |  |  |
| 10 | Burette -10 ml, straight bore, stop cock with PTFE keys , graduation interval 0.05 ml, tolerance +0.03 ml | 50 nos. |  |  |
| 11 | Burette - 5 ml, straight bore, stop cock with PTFE keys , graduation interval 0.02 ml, tolerance +0.01 ml | 50 nos. |  |  |
| 12 | Condenser, coiled distillate type, overall height 450 mm, interchangeable joint 24/29 | 50 nos. |  |  |
| 13 | Condenser, coiled distillate type, overall height 550 mm, interchangeable joint 24/29 | 50 nos. |  |  |
| 14 | Conical flask, narrow mouth - 500 ml | 100 nos. |  |  |
| 15 | Conical flask ,narrow mouth - 250 ml | 100 nos. |  |  |
| 16 | Conical flask - 100 ml | 100 nos. |  |  |
| 17 | Cylinder graduated with pour out with hexagonal base – capacity 50 ml, graduation interval 1.0 and tolerance 0.1 ml | 40 nos. |  |  |
| 18 | Cylinder graduated with pour out with hexagonal base, graduation interval 1.0 and tolerance 0.5 ml – capacity 100 ml | 40 nos. |  |  |
| 19 | Cylinder graduated with pour out with hexagonal base, graduation interval 0.2 and tolerance 0.1 ml – 10 ml capacity | 20 nos. |  |  |
| 20 | Cylinder graduated with pour out with hexagonal base – 1ltr | 10 nos. |  |  |
| 21 | Desiccators (glass), porcelain plate, plastic knob- ID ground flange- 150 ml | 2 nos. |  |  |
| 22 | Desiccators (glass)- ID ground flange- 200 ml, porcelain plate, plastic knob | 2 nos. |  |  |
| 23 | Desiccators (glass), vacuum, stop cock with PTFE spindle, porcelain plate, - ID ground flange- 200 ml | 2 nos. |  |  |
| 24 | Flask boiling, flat bottom with interchangeable joint 24/29- 250 ml | 50 nos. |  |  |
| 25 | Flask boiling, flat bottom with interchangeable joint 24/29- 500 ml | 50 nos. |  |  |
| 26 | Flask boiling, flat bottom with interchangeable joint 34/35- 1000 ml | 50 nos. |  |  |
| 27 | Flask Round Bottom, with interchangeable joint 24/29 – 250 ml | 100 nos |  |  |
| 28 | Flask Round Bottom, with interchangeable joint 24/29 – 500 ml | 50 nos |  |  |
| 29 | Flask Round Bottom, with interchangeable joint 24/29 – 1000 ml | 50 nos |  |  |
| 30 | Flask, Volumetric with interchangeable solid glass stopper 10/15 – 10 ml, class A | 40 nos. |  |  |
| 31 | Flask, Volumetric with interchangeable solid glass stopper 10/15 , class A – 25 ml | 40 nos. |  |  |
| 32 | Flask, Volumetric with interchangeable solid glass stopper 10/15 , class A – 50 ml | 50 nos. |  |  |
| 33 | Flask, Volumetric with interchangeable solid glass stopper 10/15 – 100 ml, class B | 10 nos. |  |  |
| 34 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 250 ml | 20 nos. |  |  |
| 35 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 500 ml | 20 nos. |  |  |
| 36 | Flask, Volumetric, filtering bolt neck with tubulation interchangeable solid glass stopper, class B – 1 ltr | 10 nos. |  |  |
| 37 | Funnels dia 50 mm | 50 nos. |  |  |
| 38 | Funnels dia 60 mm | 50 nos. |  |  |
| 39 | Funnels dia 100 mm | 50 nos. |  |  |
| 40 | Kipp’s Apparatus (glass) complete set) extractor length 500mm | 2 nos. |  |  |
| 41 | Kipp’s Apparatus (glass) complete set) extractor length – 1000mm | 2 nos. |  |  |
| 42 | Pipette – 25 ml, tolerance – 0.06 ml, class B | 120 nos. |  |  |
| 43 | Pipette – 10 ml, tolerance – 0.04 ml, class B | 60 nos. |  |  |
| 44 | Pipette – 10 ml, tolerance – 0.04 ml, class A | 60 nos. |  |  |
| 45 | Pipette – 5 ml, class A, tolerance – 0.05 ml | 120 nos. |  |  |
| 46 | Pipette – Graduated – 10 ml | 100 nos. |  |  |
| 47 | Reagent bottle (glass) ~ 250 ml | 500 nos. |  |  |
| 48 | Reagent bottle (glass) (coloured) ~ 250 ml | 40 nos. |  |  |
| 49 | Round Bottom Flask, with interchangeable joint 24/29 – 1 ltr | 50 nos |  |  |
| 50 | Round Bottom Flask, with interchangeable joint 24/29 – 500 ml | 50 nos |  |  |
| 51 | Test tube, packets of 100 each | 10 pkts |  |  |
| 52 | Funnels sintered disc Buchner type- capacity 200 ml, porosity 2 | 10 nos. |  |  |
| 53 | Funnels sintered disc Buchner type- capacity 80 ml, porosity 2 | 10 nos. |  |  |
| 54 | Funnels sintered disc Buchner type- capacity 80 ml, porosity 3 | 10 nos. |  |  |
| 55 | Funnels sintered disc Buchner type- capacity 35 ml, porosity 3 | 10 nos. |  |  |
| 56 | Funnels sintered disc Buchner type- capacity 35 ml, porosity 4 | 10 nos. |  |  |
| 57 | Watch glass – 80 mm | 100 nos |  |  |
| 58 | Watch glass – 120 mm | 100 nos. |  |  |

Date;

Place:						Signature of the authorized person & seal