BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE

FOR SUPPLY OF

EQUIPMENTS AND INSTRUMENTS

FOR

DEPARTMENT OF ELECTRICAL ENGINEERING

COLLEGE OF ENGINEERING AND TECHNOLOGY

(A Constituent College of Biju Patnik University of Technology)

Techno Campus, Kalinga Nagar,  Ghatikia, Bhubaneswar –751003

DETAILED PARTICULARS AND INSTRUCTIONS ON TENDER

#### Purchase of Equipments and Instruments

FOR

Department of Electrical Engineering.

College of Engineering and Technology

Bhubaneswar – 751003, Odisha

Tender no: CET/2222/EED Date-04/03/2015

| 1. | Tender Opening | 25.03.2015 at 3 : 00 P.M. |
| --- | --- | --- |

#### Sealed Tenders  are invited in two part from reputed Original Equipment Manufacturers (OEM)/Authorised Dealers, for supply of equipments and instruments for the Department of Electrical Engineering, College of Engineering and Technology (CET), Techno Campus, Kalinga Nagar, Ghatikia, Bhubaneswar – 751003, Odisha.

### Scheduled Tender Activity:

| Sl. No. | Activity | Date |
| --- | --- | --- |
| 1 | Last Date of Tender Document Submission | 25.03.2015 up to 1.00 PM |
| 2. | Tender Opening | 25.03.2015 at 3:00 PM |
| Item | EMD (in Rupees) | Cost of Tender Document (in Rupees) | Period of complete Delivery, Installation and Commissioning |
| Equipments and Instruments for Electrical Engineering Department | Rs.10,000/- | Rs.500/- | 30 days |

Financial bid & Technical bid must be enclosed separately.

The Tender documents can be downloaded from our website www.cet.edu.in and the tenderer has to submit a separate draft of Rs.500/-(nonrefundable) along with submitted tender, otherwise the offer submitted by the tenderer will be cancelled.

### Eligibility of Tenderer and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

- The tenderer must be a reputed OEM manufacturer and/or the Authorised Dealer of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the tenderer is an Authorised Dealer of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

- The tenderer must have both sales and service center with qualified Service Engineers. All after sales support should be provided directly by the manufacturer only.

- The tenderer must have the willingness for providing comprehensive maintenance support of the Equipment supplied by him.

- The tenderer must provide evidence of successful execution of supply orders with installation and successful after sales support in reputed organizations since last 3years.

- The tenderer must have cleared Sales Tax and Income Tax payment up-to- date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up-to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-date. and/or PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The tenderers who are the Original Equipment Manufacturers (OEM)/ Authorised Dealers of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants.

The tenders will be opened on 25.03.2015 at 3:00PM in presence of the tenderers or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular tenderer under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenderers would be rejected or contract cancelled and earnest money deposited will be forfeited.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, delivery period and after-sale-service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased on illegible specifications and rates will be rejected.

Request from tenderer in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Tenderers shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a tenderer find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the tenderer to ask for time beyond the due date fixed for receipt of tenders.

The tenderer must also specify minimum uptime and maximum time to repair/replace in the event of a failure and penalty there of.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the tenderer agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, tenderers and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the tenderers either in writing or through personal contact as may be necessary.

The tenderer will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the tenderer is liable to be disqualified.

### Submission of Tenders:

#### The “Technical Bid” and “Financial Bid” put in different envelops duly marked as such on the top of the envelope shall be put in one big envelope must show the name of the tenderer and his address and should be superscribed as “Tender for equipments and instruments/EED/EQP2” on the top of the envelope.

All the documents submitted must be in the papers showing signature of the tenderer and printed office name of the tenderer on official seal.

All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics.

Wherever possible, data in tabular form should be given.

Cost-benefit/break-even analysis should be supported in graphical and tabular form to give quick view and supported with description or details.

The tenders should be submitted by speed post / Courier / Person drop in tender box at the office of the Principal, College of Engineering & Technology, Techno Campus, Kalinganagar, Ghatikia, Bhubaneswar – 751003, Odisha.

### 3. Requirements by Tenderer before Supply:

### Rating Plate, Name Plate and Labels:

Each of the equipment is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

### Packaging:

All the equipment are to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

All materials/equipment shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to provided by the tenderer.

The tenderer shall provide all test and measuring equipment/tools required for inspection/testing.

The cost of all such tests shall be borne by the Tenderer.

CET reserves the right to reject any equipment if it does not comply with the specifications during site testing, installation and commissioning stage.

Inspection & testing would be conducted, jointly, at various stages as applicable during unpacking, installation and commissioning of respective equipment/ components at the manufacturing site.

### Environmental Condition:

All the equipment supplied shall be rugged and should operate without any deviation in quality, or degradation of equipment performance. All the specification/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	0 to 50 degree Celsius

*	Humidity			95% RH (non-condensing)

All the equipment are intended to operate under 220 V, 50 Hz power supply.

### Requirements by Tenderer after Supply:

### Supply:

The material would be delivered by the supplier at Department of Electrical Engineering, College of Engineering & Technology, Techno Campus, Kalinga Nagar, Ghatikia, Bhubaneswar – 751003, Odisha.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The equipment should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the equipment, shall be supplied by the tenderer at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 6 (SIX) weeks of placing of the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

CET reserves the right to procure the materials from alternative sources at the risk and cost of the successful tenderer giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification, they shall be rejected. The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

Imported consignment, if any, should be destined to “The HOD Department of Electrical Engineering, College of Engineering & Technology, Techno Campus, Kalinga Nagar, Ghatikia, Bhubaneswar – 751003, Odisha. India” through nearest custom clearing Airport. The suppliers shall be responsible for releasing the consignments from the carriers/transporters. The equipment shall be delivered and installed at site at the cost of the tenderer.

All taxes, levies, surcharges including the customs clearance and handling freight and insurance should be paid and handled by the tenderer.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- Installation and Testing of the Equipment, Machineries etc. supplied by the tenderer.

- It will be the responsibility of the tenderer to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to CET.

- The tenderer is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation must complete within a week after delivery on site.

### Documentation:

Detailed technical manuals, handbooks, drawings, warranty card and factory quality assurance checklist, test results and any other certifications mentioned in the technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and system safety procedures.

For Experimental setups, details of theory, procedure and methods of taking measurements etc. should be provided in the form of hand books for each experiment in duplicate.

The receipts for taxes paid, if any, for the supplied materials should also be submitted

### Trial Operation and Performance Guarantee Test:

After successful completion of installation and commissioning of the equipment, a 7-day continuous trial operation putting those on optimum use shall be conducted by the tenderer at site, during which the performance of the equipment shall be demonstrated for trouble-free continuous operation, meeting the specified standards.

During trial operation, tenderer shall do all necessary adjustments required to ensure the performance as per the acceptable level.

In case, guaranteed performance is not established, the tenderer shall be given opportunity to rectify/replace the equipment/components, and restart the 7 days continuous trial operation, at the risk and cost of the tenderer.

### On-Site Warranty:

- The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied devices/equipment and components shall be covered under two-years or more comprehensive on-site warranty from the date of issue of successful completion of Performance Guarantee Report.

- During the period of warranty, it shall be the responsibility of the tenderer to provide all essential spares and consumables, which may be required for maintenance and trouble-free operation of the devices / components at the tenderer’s cost.

- Software, if any, has to be tested with at least one-year warranty for trouble free operation.

### Comprehensive Maintenance Contract:

The tenderer shall be under the obligation of entering into a Comprehensive Maintenance Contract (CMC) with CET for a minimum period of two years, renewable if felt necessary, on mutually acceptable rates, terms and conditions. CMC shall start after the completion of Warranty.

The scope of CMC shall cover maintenance and supply/replacement of materials and components, for smooth and reliable operation of the systems without trouble.

Accordingly, the tenderer has to offer rates for the CMC structure per equipment along with the price for the Systems and other associated Equipment supplied.

### After Sales Service:

During the warranty period and subsequently, after signing of Agreement for CMC the tenderer shall attend to the problems reported by the users of CET on a priority basis.

For any problem reported, the tenderer shall attend and rectify the problem within 3 (three) days or provide a stand by system of the similar configuration.

The report on any problem will be informed through phone or fax number of which shall be given by the tenderer.

The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the tenderer.

On failure to comply with those instructions, the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

### EMD

The tenderer has to submit a Demand Draft/Banker’s Cheque/Pay Order for Rs. 10,000.00 (Rupees five Thousand Only) in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalized Bank towards EMD. Without EMD, the tender will be summarily rejected.

There will be no interest paid to the tenderer towards EMD money opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful tenderers will be refunded as soon as possible after the tenders are finalized.

No one should submit a tender who is unable to furnish the EMD as indicated above and supply the equipment within the specified period as indicated in the indent/order issued for the quantities decided in his favour.

  - PRICES:

  - Price quoted should be FOR Bhubaneswar only.

Price should be quoted for unit item; however, the actual requirements may be much more. (A tenderer may propose to give discounts if any for purchase of more than one unit of a particular item.)

Purchase order will be placed as a single lot for each type of item or for all the items together, as the case may be.

In case of items of import, the tenderer should take full responsibility for customs clearance, handling, tax payment, etc. and specify the charge for the same in the price bid.

  - Sales Tax Concession:

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of equipment/instruments.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

  - Payments:

- In case of imported items, payment will be made by opening LC in the name of the manufacturer. Custom duty will be paid extra as per actual.

- In case of purchase in Indian Rupees, payment of 95 percent of the ordered value will be made after successful installation and commissioning of the equipment subject to submission of satisfactory performance report by our Professor-in-Charge.

- 5% of the total ordered value will be kept as performance security and will be returned to the party on satisfactory completion of defect liability period.

  - Penalty:

If the delivery, installation and commissioning is not carried out in time as specified in other part of the tender document, the tenderer/manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned system/ equipment.

  - Rate Contract with DGS&D or any other Government Organisation:

In case the tenderer has entered into a Rate Contract with DGS & D or any other Government Organisation such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

- Technical Specifications:

List of Equipments and Instruments :

A.

| Sl. No. | Name of Equipments and Instruments | Specifications | Qty. Required |
| --- | --- | --- | --- |
| 1 | *DIGITAL STORAGE OSCILLOSCOPE Technical Parameters required Fully Isolated and Floating channel Bandwidth Sample Rate per Channel Memory Vertical Sentivity Vertical Zoom Max Input Voltage (1 MÙ) Float Voltage Time Base Range Input Coupling Acquistion Modes Trigger Modes Automatic Waveform Measurements Power Measurements Cursors(Type , Measuements) Battery I/O interface Display Probes to be supplied with instrument | 4 200 MHz 2 GS/s 2.5K 2 mV to 5 V/div Vertically expand or compress a live or stopped waveform 300 VRMS CAT II 600 VRMS CAT II 2.5 ns to 50 s/div AC, DC, GND Peak Detect, Sample, Average, Sequence, Scan/Roll Mode. Auto, Normal, Single Sequence Period, Frequency, +Width, –Width, Rise Time, Fall Time, Max, Min, Peak-to-Peak, Mean, Cycle RMS" True real power in watts, reactive power in VAR, power factor, crest factor, RMS measurements, frequency measurements, Phase Angles, Harmonics Measurements,T HD, Switching-loss Measurements – Turn-on loss, turn-off loss, conduction loss, total switch loss." Voltage, Time(ΔT, 1/ΔT (frequency), ΔV, dv/dt, di/dt) Insturment should have battery pack for power backup, and should have the option for extended battery for higher backup . RS232 TFT Color LCD display 1 qty Compatible 100A 100KHz current probe, 4 qty 200MHz 100X high voltage probes | 01No. |

* The DSO should include all the necessary software required for the operation and measurements

B.

| Sl. No. | Name of Equipments with Features/ Accessories and Specifications | Qty. Required |
| --- | --- | --- |
| 1. | CONTROL TRAINER (Master Unit containing Analog PID as well as PC based PID with computer interface adaptor & self extracting PID S/W on CD with USB Adaptor) Specifications Built in power supply DC supply: +12V, 500mA. Reference: 1phase sine reference for cosine firing 30Vpp max. Unregulated PS: 17Vdc, 500mA unregulated for driving pulse transformer Variable DC power supply : 7 to 14V/3A Display A) DPM : 2Nos. i) For Temp. upto 1000C & intensity in Lux (2000) ii) For Temp. upto 5000C B) Analog Meter : 2Nos. i) Centre zero for display of process error (+9V) ii) For MV/SP (0-2.5V) Operating voltage Switch selectable220-240Vac, ±10%, 50Hz, 75VA Analog PID Controller. With built in low freq. function generator Controller selection P,PI,PD,PID with selector switch Parameter settings: Operating modes : Integral Time Ti (0.5-25Sec) Derivative Time Td (0-2Sec) Proportional Band Pb (5-200%) Set point (-9V- +9V) Level shifters for converting process O/p (+9V) to 0-2.5V for PC interface & Actuator panel Test points for Process Error, Set Point, Measured Value, Controller output Built in function generator O/p waveform selectable sine, triangular & square. O/p freq. range from 0.016Hz to 166Hz with fine control pot. Variable amplitude control 0 to +9V. | 0 1 No. |
| 2. | DC Servo position control Accessories with specifications:- PMDC Motor 12V DC, 40 Watt, 2000 RPM with gear box(Ratio 30 :1) Loading : Using PMDC Motor @12V/5A max. Servo Amplifier with built in 12V/3A power supply. Sensor: Photo reflective speed sensor with direction detect using with facility for giving Quadrature o/p's Signal conditioning circuit for speed sensor to O/P 0-2.5VDC Feature for position feedback. Control Interface circuit for AC &DC servo motor, (2500RPM) with speed direction. Level shifter 0 - 2.5V to 9V (2nos). | 01 No. |
| 3. | AC Servo position control Accessories with specifications:- AC geared (50:1) 2 phase servo motor: Main winding : 230VAC Control winding : 6VAC /1A O/P shaft ND RPM 2500 Loading Using small PMDC motor @ 12V/1A max. Servo amplifier with built in 12V/ 3A Power Supply. Sensor: Facility for position feedback Control Interface circuit for AC &DC servo motor, Signal conditioning circuit for speed sensor to O/P 0 - 2.5VDC (2500RPM) with speed direction. Level shifter (2nos). | 01 No. |
| 4. | Stepper Motor Features:- Stepper (3kgcm/12V) Coupled to servo pot. Sensor Feedback Manual operations of Stepper Motor, Position control by step operation, Position Control by continuous operation , Angle control by step operation, Speed control by control switch, Angle control by software, Dynamic current / torque characteristics,. Closed loop control with servo pot for PID experiments, V to F function block. | 01 No. |
| 5. | Trainer for Position Control System with Synchros. Synchro Transmitter Receiver To be Operated from 230V AC+10% , 50 Hz Synchro transmitter / Receiver pair Rotor 1 phase 115 V AC /120mA Stator 3 Phase 90V AC-9 pin D (MM) connector to interface. 3600 servo pots / 10K - 2Nos. Facility to study error under AC supply (24-0-24V) as well as DC supply (+12V) application. Diode Demodulator to convert AC error signal from process VI into DC error to control magnetic amplifier. 15 pin D (F) connector to interface with AC servo motor & 9 pin D (F) connector to interface with synchro command station. Variable control voltage 0 - 12VDC / 500mA for plotting Facility for PC interface | 01 No. |

C.

| Sl. No. | Name of Equipments and Instruments | Specifications | Qty. Required |
| --- | --- | --- | --- |
|  | QUBE Rotary Servo Unit: Compact and integrated rotary servo system Two modules to be included: inertia disk and pendulum Tool-less quick connect module interface Direct-drive brushed DC motor Noise immune high resolution optical encoder for position feedback Built-in PWM amplifier Unambiguous, easy-connect cables and connectors Full compatibility with MATLAB®/Simulink® and LabVIEW™ Fully documented system models and parameters to be provided for MATLAB®/Simulink® and LabVIEW™ Open architecture design, allowing users to design their own controller QUBE-Servo USB Built-in USB data acquisition device Standard USB 2.0 connection QUBE-Servo Direct I/O Two I/O channels for motor and pendulum encoders measurements 5-pin DIN encoder connectors One I/O channel for amplifier voltage command Single-ended RCA amplifier input connectors QUBE-Servo for NI myRIO A/B connector for encoder measurements and amplifier command connection to two MXP connectors on NI myRIO | (i) Servomotor Encoder Specification: 2048 counts/revolution (ii) Inverted Pendulum Encoder Specification: 2048 counts/revolution Nominal Motor Voltage: 15V Peak Current Rating: 3A Continuous Current Rating: 1A Nominal Speed: 2920 RPM Nominal Torque: 22.0 mN-m Interfacing: USB 2.0 | 01 No. |

Above are the minimum specifications of the equipment.

The minimum specifications are indicative and not exhaustive.

Advanced models with better options/applications may also be quoted.

The quoted materials should be of latest trend and technology .

### Instruction to the Tenderer:

  - Instructions to Offer Technical and Price Bids Separately:

Technical Offer and Price Bids should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover super scribed as “Tender for equipments and instruments  for Electrical Engineering  Department”.

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology.

Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible.

Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and number for each offer.

Include the printed catalogue and price list if any for each of the equipment quoted.

Specify the list of Accessories required along with each of the equipment.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the equipment as “Free Accessories”; these should be fully compatible with the quoted models.

  - Solving Disputes:

CET, the tenderer and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

************************************************************************

************************************************************************

COLLEGE OF ENGINEERING & TECHNOLOGY, BHUBANESWAR DEPARTMENT OF ELECTRICAL ENGINEERING

(A Constituent College of BPUT, Odisha.)

Techno Campus, Ghatikia, Bhuabaneswar Khurda Odisha, Pin-751003  www.cet.edu.in  Email:principalcet@cet.edu.in

********************************************************************************************

TECHNICAL BID

(To be enclosed in separate sealed cover)

Name and address of the bidder:

Note: A DD for Rs.10,000/-(EMD) and Rs.500/- (Tender document fee) should be enclosed with this bid.

- Name of the bidder

  - Full postal address

  - Full address of the premises

  - Telegraphic address

  - Telex number

  - Telephone number

  - Fax number

- Monthly supply capacity of goods quoted for

  - Normal

  - Maximum

- Total annual turn-over(value in Rupees)(Previous year)

( Copy of  Balance Sheet / Audit Statement / IT returns, etc. to be attached as proof)

- Past supply details for 3 years (Attach proof)

- Whether similar job work undertaken in the past, if so details.

(Demo of the Lab Equipments to be arranged if required)

Customer	Quantity supplied	Year

6.  Sale Tax  No. / TIN No.

Signature and seal of the bidder

COLLEGE OF ENGINEERING & TECHNOLOGY, BHUBANESWAR

DEPARTMENT OF ELECTRICAL ENGINEERING

(A Constituent College of BPUT, Odisha.)

Techno Campus, Ghatikia, Bhuabaneswar Khurda Odisha, Pin-751003  www.cet.edu.in  Email:principalcet@cet.edu.in

***********************************************************************************************************

FINANCIAL BID

(To be enclosed in separate sealed cover)

| Sl. | Item Description |  |  |  |  | Make / Model | Qty. | Unit Cost | Total | Taxes | Any | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. |  |  |  |  |  |  |  |  |  | Req. |  |  | applicable | other |  |
| 01 | DIGITAL STORAGE OSCILLOSCOPE |  | 01 No. |  |  |  |  |  |
| 02 | CONTROL TRAINER DC Servo position control AC Servo position control Stepper Motor Trainer for Position Control System with Synchros. |  | 01 No. 01 No. 01 No. 01 No. 01 No. |  |  |  |  |  |
| 03 | QUBE Rotary Servo Unit |  | 01 No. |  |  |  |  |  |

Signature and seal of the bidder

PROFORMA FOR SUBMITTING ELIGIBILITY

REQUIREMENT AND UNDERTAKING

To

The Principal,

CET

Bhubaneswar-751003

Sub: Submission of Tender for “Supply, Installation & Commissioning of i) DSO  ii) Master Trainer, DC Servo position control, AC Servo position control, Stepper Motor, Trainer for position Control system with Synchros.

Sir / Madam,

Having examined the conditions of contract and specifications including addenda, I/we, the undersigned, offer to undertake Supply, Installation, Testing & Commissioning of above mentioned items at Department of Electrical Engineering, CET, Bhubaneswar, in conformity with the specifications, terms & conditions of Tender.

- I/We agree to abide by the terms and provisions of the said conditions of the contract and provisions contained in the notice inviting tender. I/We hereby unconditionally accept(s) the tender conditions of

It is certified that I/we have not stipulated any condition(s) in our tender offer. In case any condition(s) are found in our tender offer violated after opening tender, I/We agree that the tender shall be rejected   without prejudice to any other right or remedy be at liberty to forfeit the EMD absolutely.

- I/We hereby submit the earnest money of [INR…………..……….……] for the Tender for the above mentioned work in the form of demand draft.

- That, I/We declare that I/We have not paid and shall not pay any bribe to any officer of CET for awarding this contract at any stage during its execution or at the time of payment of bills, and further if any officer of CET asks for bribe/gratification, I/We shall immediately report it to the CET authorities.

- That, I/We undertake that CET’s tender document shall form part of contract agreement.

I/We understand that you are not bound to accept the lowest or any bid, you shall receive.

Thanking you

Yours faithfully

Dated:

Signature of Bidder

Name: ……………………

Telephone:……………….

Witness…...................

Signature....................

Address......................

Enclosures

# Text boxes

The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order.

Sign on each page of  this tender document and Return it along with the offer enclosing this part together with the Technical Offer.

***	The CET authority has all rights to accept/reject any tender without assigning any reasons there of.